DCIF

Design Collaboration Implementation Form

for the Design Office activities related to the

Ion Cyclotron High Voltage Power Supply System PA

5.1 P4.IN.01

Abstract

This document complements the Procurement Arrangement (PA) documentation by focussing on IO DO &DA DO collaboration organisation, responsibilities, processes & input/outputs for the Ion Cyclotron High Voltage Power Supply System (IC HVPS)

Major Changes

| Version | Date | Location | What |
| --- | --- | --- | --- |
| 1.0 | 07/04/2009 |  | First version |
| 2.0 | 14/09/2010 | §1, §2 | Add link to PA document, new version of PA annex B (v.4.0), Change on collaboration scheme |
| 2.1 | 22/09/2010 |  | Minor corrections |
| 2.2 | 22/09/2010 |  | Minor corrections |
| 2.3 | 28/10/2010 | §4.1, §4.2 | new version to address reviewers comments |
| 2.4 | 28/10/2010 | §8, §5.1 | Minor corrections |
| 2.5 | 02/11/2010 | §8, §4.1 | Minor corrections |
| 2.6 | 02/11/2010 | §6 | Minor corrections |

Contents

1	Objectives of the DCIF	3

2	Collaboration Scheme	3

2.1	CAD data	3

2.1.1	Choice and justification	3

2.1.2	Evolution of collaboration schemes along the task	3

2.1.3	Acceptance of Multi-CAD design between DA and suppliers	3

2.2	Diagram data	4

3	Enablers Related to this PA	4

3.1	Software	4

3.1.1	For CAD data	4

3.1.2	For Diagram data	4

3.1.3	For Piping isometric drawing generation	4

3.2	Standards and templates	5

3.3	Procedures & Documentation	5

3.3.1	For CAD data production	5

3.3.2	For CADENAS use	5

3.3.3	For diagrams production	5

3.3.4	For Equipment & System (E&S) production	6

3.3.5	For piping isometric drawing production	6

4	Design Offices Responsibilities	7

4.1	IO DO Responsibilities	7

4.2	DA DO Responsibilities	7

5	DO Inputs/Outputs	8

5.1	PA inputs	8

5.2	PA Outputs	8

6	Collaborative Workplan	9

7	Contact Persons	14

8	CAD Manual sections applicable for this task	14

9	Design data records	14

10	Glossary	15

# Objectives of the DCIF

This document:

- Is related to the ITER Ion Cyclotron Heating and Current Drive System (ICH&CD) Procurement Arrangement (PA) which includes the design, manufacturing and installation of the Ion Cyclotron Heating and Current Drive System based on a Functional Specification.

- Recommends a Collaboration scheme between IO Design Office (DO) and DA Design Office (DO) and characterises the related organisation aspects to be applied for the Procurement Arrangement

- Proposes an implementation plan for the activities of the IO DO and DA DO.

- Is consistent with the Procedure for the Usage of the ITER CAD Manual (2F6FTX) and the Protocol of collaboration (24P2F6) between IO DO and DA DO.

- Has been written basing on the following documents:

  - 5.1 P4.IN.01.0 - PA Main (2MLSML v1.0)

  - 5.1 P4.IN.01.0 - PA Annex A (2FT5SB v1.0)

  - 5.1 P4.IN.01.0 - PA Annex B (2FRJMT v4.4)

# Collaboration Scheme

## CAD data

### Choice and justification

Synchronous Collaboration Scheme promoted by IO amongst the three possible collaboration schemes (synchronous, asynchronous and scheduled).

Further explanations are available in the Collaboration Scheme description (2WS83V).

Justification:

  - Functional specification PA

  - Database replication already used with IN DA

  - Interfaces not yet frozen

### Evolution of collaboration schemes along the task

YES        It is anticipated that the DA will develop design data using the synchronous collaboration scheme throughout the final design phase.  If the DA chooses to involve suppliers in some design for manufacturing tasks, the output of those tasks may be managed using a scheduled collaboration scheme.

### Acceptance of Multi-CAD design between DA and suppliers

YES         In the Manufacturing Phase, suppliers may provide the DA with design data and drawings for fabrication tooling, assembly, etc that have been developed in a multi-CAD environment. The DA will make every effort to transmit relevant information to the IO in a suitable format.

Compliance to the boundary conditions for Multi-CAD usage given in the ITER CAD Manual Section 8 - Collaboration Processes (249WV4).

## Diagram data

Direct Remote Connection promoted by IO.

Justification: The Power Supply system uses network elements. Their representations (electrical drawings, PFD and P&ID (fluids diagrams), CODAC…) will be done through a remote connection to the IGE+XAO SEE System Design licenses and database of IO which is the only reference solution on ITER collaboration diagrams.

# Enablers Related to this PA

## Software

### For CAD data

- The DA DO shall use the CATIA version indicated in the latest version of the ITER CAD Manual released by IO DO, CATIA V5 (R19 SP5 currently). Further changes of CATIA release will be announced officially through the CAD working group and by mail to the DA DO.

- Product Data Management (PDM) system: ENOVIA V5.

- E&S workbenches

- Standard part management tool (including extensive standard and commercial catalogs which connect to CATIA and ENOVIA): CADENAS software

For details about IO DO CAD systems, refer to:

ITER CAD Manual Section 1.3 - IO CAD System (249WLQ)

For details of CATIA release, refer to:

ITER CAD Manual Section 7 – CAD Fact Sheet (249WUL)

### For Diagram data

- Engineering Design Diagram System: IGE+XAO – SEE-System Design.

- Cubicle detailed wiring diagrams: IGE+XAO – SEE Electrical Expert

- Publication system for all diagrams: ICP.

- IO will provide a remote access to the IGE+XAO SEE System Design platform via a CITRIX connection with appropriate licences.

- IO will provide IDM accounts (for ICP access).

### For Piping isometric drawing generation

N/A, not requested for this task

## Standards and templates

- Diagram templates for SEE-VISIO as well as ITER’s symbols for diagrams, and related E&S set-up will be enabled for the DADO (or suppliers) thanks to the configuration of machines.

- CATIA 2D drawings templates, CAT settings recommended by IO and CATIA automation tools related to ITER customisation will be enabled for the DADO (or suppliers) thanks to the configuration of machines.

- ISO drawing standards are given in the ITER CAD Manual Section 10 – ISO Drawing Standards (24MZWV)

## Procedures & Documentation

The DA shall comply with the following IO general requirements:

  - Procedure for Colour coding for CM plant system data (2FJ2GZ)

  - Procedure for Configuration Management Model (CMM) (2EGQKE)

The DA and IO shall comply with the World_wide_support_concept_and_procedures (34VB64)

### For CAD data production

IO drawings and models management, approval processes and procedures:

  - Procedure for the Management of CAD Work & CAD Data (Models and Drawings) (2DWU2M)

  - Procedure for the Approval of CAD data - CMM , 3D Models & Drawings (2E3UCH)

  - Procedure for the Promotion of CAD Data from In-Work to Draft Status (28LVHH)

### For CADENAS use

The use of Mechanical Standard Parts shall be done through the CADENAS software

The following methodologies and procedures shall be applied:

  - CADENAS Standard Parts - Collaboration Processes (342GSU)

  - How To - CADENAS (35ZJ6Y)

  - How To - CADENAS For ENOVIA Replicated Users (3M36FP)

### For diagrams production

IO diagram management, approval processes and procedures shall be applied:

  - CAD Manual 14 - Diagram Guidelines (35CY6V)

  - ICP_SSD_PDF Diagram management functional spec (2N2YX2)

### For Equipment & System (E&S) production

IO populates its catalogues DB with standards references, commercial references or preliminary design references. The documentation of existing part families is stored in Technical Description Sheet (TDS) (27YG5M) describing the equipment (material, size, attributes…) which are stored on IDM (IDM account needed) under the following link: CATIA Plant Designer Catalog Documentation (283AMM).

The 3D representations are stored in ENOVIA and are available by CATIA through the different following workbenches:

- Equipment & System \ Multi-discipline

- Equipment & System \ HVAC discipline

- Equipment & System \ Piping discipline

- Equipment & System \ Structure discipline

- Equipment & System \ Preliminary Layout

- Equipment & System \ Electrical Cabling Discipline

For further details on modules to be used depending on the kind of work to perform, you can consult 03 EnS Add-on Documentation (2Y78NL) on §8 “Licensing”.

Designers will have to follow E&S methodologies and HOW TO stored under: Equipment&System (29FSLN)

The contractor may need specific catalog references not yet existing in the IO catalog to fulfil his design. In this case, the contractor shall follow this procedure to obtain integration of its own catalog production in Central IO catalog: E&S Catalog Production (2EWCHG)

### For piping isometric drawing production

N/A, not requested for this task

# Design Offices Responsibilities

## IO DO Responsibilities

The IO DO is responsible, as defined in the DO Organization & Responsibilities (249WQN):

- To ensure the implementation of ITER ENOVIA database replication

- To allow a remote access to the IGE+XAO SEE System Design licences and to the IO Database (via CITRIX)

- To provide the inputs identified in §5.1

- To manage the diagram data approval process.

- To check on DA designers (or supplier) certification.

- To provide IDM accounts.

- To attribute to the DA an access to the V: drive for CATIA and CADENAS setup.

- To attribute to the DA an access to the W: drive to setup E&S production Catalogue.

- To attribute relevant roles to the DA DOCC and DA designers in the ITER ENOVIA PnO concept after certification.

- To support the DA to create VPN network with selected contractor premises

- To inform DA DO about any interface change by using the ENOVIA subscriptions and the corresponding mail or meetings if required.

- To temporary allow a remote access to the ITER’s CADENAS Mechanical Standards Parts (via CITRIX).

- To support DA with Level 3 support as described in World_wide_support concept_and_procedures (34VB64)

## DA DO Responsibilities

The DA DO shall follow responsibilities defined in sections §3.1.2 and §3.5.5 of the DO Organization & Responsibilities (249WQN), and in particular:

- To transmit the ITER data to the DA industrial partner through the process agreed by them.

- To provide the IO DO with the 3D geometry relevant for:

    - The Configuration control checking by the IO DI

    - Design checking by the IO RO and the IO DO

- To insure the consistency between 2D drawings and 3D models delivered to IO at any PA stage.

- To insure the consistency between diagrams and 3D representations delivered to IO at any PA stage (A task which can be assisted by the use of a 2D/3D checker utility to detect most obvious errors).

- To create VPN network within the selected contractor premises

- To put in place the proper procedures to insure that the data passed to IO DO are compliant with the ITER CAD Manual (with a special care of the sections given in §8 of this DCIF).

- To participate to the diagrams approval process.

- To support their own designers (or supplier) in obtaining the suitable CATIA/ENOVIA training and certifications (if needed), as well as for other trainings (E&S, SSD, ...),

- To provide support with Level 1 and Level 2 as described in World_wide_support_concept_and_procedures (34VB64)

- To provide the outputs identified in §5.2

- To maintain the environment and context updated once IO DO has informed about any interface modification.

- To purchase CADENAS

- To purchase IGE+XAO – SEE Electrical Expert (if cubicle detailed wiring diagrams are needed).

- To promote all CAD data to DA draft under ENOVIA for all deliverables (intermediate and final).

- To follow the temporary procedure which allows a remote access to the ITER’s CADENAS Mechanical Standards Parts (via CITRIX) until DA get the CADENAS software.

# DO Inputs/Outputs

## PA inputs

- Conceptual Design: 3D models.

- Configuration Management Models (CMM) of the system with Approved status available through DB access.

- Existing Diagrams: block diagrams and PFD of the IC system

- Bill Of Material (BOM), CATIA customization provided by IO.

- Design Log Book, CATIA customization provided by IO.

## PA Outputs

- To provide the IO DO with the 2D drawings, 3D geometry and diagrams at each PA review:

      - Preliminary Design (before the Call for Tender (CFT)

      - Detailed Design

      - Manufacturing Design

      - As-Built Design

      - As Installed Design

    - Detailed list of models and drawings to be provided by the DA during the PA to be defined in the PA Phase

    - Design Log Book (format provided by IO) will be filled in order to allow the tracking of design changes and the related CAD data versioning

    - Bill of Materials (BOM)

- Those documents will be submitted:

    - On a regular basis for checking and monitoring by IO (Pace to be defined in preparation phase, according to the detailed work plan provided by DA)

    - In relation with any Design Exchange Request (DER)

    - Before manufacturing documents are checked for manufacturing agreement

    - As installed models, as Built models and drawings at the end of the manufacturing phase

# Collaborative Workplan

Identify here after the logical sequences of actions of IO DO and Contributor DO, related to the expected outputs per phase

| PA PREPARATION PHASE |  |
| --- | --- |
| DA DO | - To submit their DA DO workplan, including important phases and milestones (e.g. conversions, work splitting...). - To inform IO about the indentified DA/CDO actors and corresponding roles. |
| IO DO | - Check and approval of the DA workplan, adaptation or merge of the present DO Collaborative workplan if needed. |
| DA DO | - To inform IO about the procedures put in place to insure that the data passed to IO DO are compliant with the CAD Manual (with a special care given to §8 of the present DCIF). - Interfaces with IO IT for creation of VPN collaborative network in the contractor’s premises if contractors are not located within DA premises. - To purchase CADENAS and IGE+XAO – SEE Electrical Expert (if cubicle detailed wiring diagrams are needed). |
| IO DO | - Identification of CAD data representing an Interface with IO systems: Definition of Environment, Listing of interfaces. - Identification of DIAGRAM data. - Proposal of CAD data structuring, in accordance with the CAD Manual, will be submitted to IO DECO and IO DOCC. - To create IDM account (if needed) - To allow a remote access to the IGE+XAO SEE System Design licences and to the ITER Database (via CITRIX) - To temporary allow a remote access to the ITER’s CADENAS Mechanical Standards Parts (via CITRIX) until DA get the CADENAS software - To ensure the implementation of ITER Data Base replication |
| DA DO | - To support their DESIGNERS (or supplier) in following the suitable CATIA/ENOVIA training and obtaining corresponding certifications (if needed), as well as for the E&S workbenches and IGE+XAO SEE System Design and SEE Electrical Expert software. - DA DESIGNERS to have or to obtain certifications by attending the organized training by their DO, as well as for all other software and workbenches mentioned above |
| IO DO | - To check on DA DESIGNER certifications. - To attribute relevant roles to DA DESIGNERS and DA DOCC in the ITER ENOVIA People &Organisation (P&O) concept. - To transfer the data ownership. |

| PA PHASE 1: PRELIMINARY DESIGN PHASE |  |
| --- | --- |
| Settings, processes and methods implementations |  |
| Direct Remote connection (for DIAGRAMS data) |  |
| CDO, DA DO | - DIAGRAMS design performed by designers connected to the ITER DB via CITRIX. - IN DA Designers are responsible of the continuous identification of data representing an Interface between IC HVPS and other systems. The maintenance of the design context is IN DA’s responsibility and is enabled by its constant connection to the ITER Database via CITRIX connection system. - IN DA support its DIAGRAMS designers on ITER DIAGRAMS and CITRIX methodologies with Level 1 and 2 supports. |
| IO DO | - IO DO supports DA DIAGRAMS designers on ITER DIAGRAMS and CITRIX methodologies with Level 3 support. - IO DECO monitors the compliance of DIAGRAMS data of the preliminary designs, with the ITER design rules. - Performs 2D/3D checks. |
| Synchronous scheme (for CAD data) |  |
| DA DO | - ‘Preliminary Design’ performed by designers connected to the ITER Enovia DB - To maintain the environment and context updated once IO DO has informed about any interface modification. Production of pictures every month showing the reporting of the DA works progress. - Intermediate deliverables are represented by the monthly promotion to DA Draft of the models developed by the DA, assuming this promotion to draft is subsequent to their cursory check. |
| IO DO | - To inform DA DO about any interface change by using the ENOVIA subscriptions and the corresponding mail or meetings if required. - When relevant, update of Configuration Management Models (CMM) for the objects interfacing with DA works - IO DECO submits monthly requests of Draft promotion to IO DI and IO RO, after design progress assessed with the DA. - Depending upon the agreement of IO DI and IO RO, the IO DECO promote to Draft - IO DO supports the DA CAD designers on ITER CAD and PDM methodologies. - IO DECO monitors the compliance of 3D CAD models and 2D drawings of the detailed designs with the ITER CAD Manual rules. |

| PA PHASE 1: PRELIMINARY DESIGN PHASE – CONTINUED |  |
| --- | --- |
| Preliminary design review |  |
| IO DO, DA DO | - Preliminary Design Review (organised and chaired by the IO IC HVPS RO): - Data to be finally approved through the Design Review is transmitted to IO at least 2 weeks before the date of the Design Review. - Design Review involves (in addition of the design reviewers identified in regular design reviews) all IO ROs of interfacing components. - The Design review is leading to the formal agreement of the reviewers on the approval of the “Preliminary Design” - Promotion to status ‘Approved’ of the 3D CAD data delivered by the IN DA (at maturity ‘Preliminary Design’) performed by the IO DECO in ITER DMU |

| PA PHASE 2: FINAL DESIGN PHASE |  |
| --- | --- |
| DA shall produce the Detailed Design according to the phase above and components, buildings and interfaces updates delivered by IO. |  |
| Detailed ( or final) design review |  |
| IO DO, DA DO | - Detailed Design Review (organised and chaired by the IO IC HVPS RO): - Data to be finally approved through the Design Review is transmitted to IO at least 2 weeks before the date of the Detailed Design Review. - Design Review involves (in addition of the design reviewers identified in regular design reviews) all IO ROs of interfacing components. - The Design review is leading to the formal agreement of the reviewers on the approval of the “Detailed Design” - Promotion to status ‘Approved’ of the 3D CAD data delivered by the IN DA (at maturity ‘Detailed Design’) performed by the IO DECO in ITER DMU |

| PA PHASE 3: MANUFACTURING DESIGN PHASE |  |
| --- | --- |
| DA shall produce the Manufacturing Design according to the phase above and eventual updates |  |
| Manufacturing Design Review |  |
| IO DO, DA DO | - Manufacturing Design Review (organised and chaired by the IO IC HVPS RO): - Data to be finally approved through the Design Review is transmitted to IO at least 2 weeks before the date of the Manufacturing Design Review. - Design Review involves (in addition of the design reviewers identified in regular design reviews) all IO ROs of interfacing components. - The Design review is leading to the formal agreement of the reviewers on the approval of the “Manufacturing Design” Drawings. - Promotion to status ‘Approved’ of the 3D CAD data delivered by the IN DA (at maturity ‘Manufacturing Design’) performed by the IO DECO in ITER DMU |
| PA PHASE 4: AS-BUILT DESIGN PHASE |  |
| DA shall produce the As-Built Design according to the phase above and eventual updates |  |
| As-built design review |  |
| IO DO, DA DO | - As Built Design Review (organised and chaired by the IO IC HVPS RO): - Data to be finally approved through the Design Review is transmitted to IO at least 2 weeks before the date of the As Built Design Review. - Design Review involves (in addition of the design reviewers identified in regular design reviews) all IO ROs of interfacing components. - The Design review is leading to the formal agreement of the reviewers on the approval of the “As-built Design” drawings. - Promotion to status ‘Approved’ of the 3D CAD data delivered by the IN DA (at maturity ‘As Built Design’) performed by the IO DECO in ITER DMU |

| PA PHASE 5: DURING INSTALLATION AND COMMISSIONING PHASE |  |
| --- | --- |
| During installation and commissioning, IN DA will have to produce the As Installed design according to components, buildings and interfaces updates delivered by IO |  |
| DA DO, IO DO | The Phase 5 is Completed by the following Events: - As Installed Design Review (organised and chaired by the IO IC HVPS RO): Identical sequence and involvement of IO and DA DO as shown in design reviews steps above, apart the following: - Data to be finally approved through the As Installed Design Review is transmitted to IO at least 2 weeks before the date of the As Installed Design Review. - Design review involves (in addition of the design reviewers identified in regular design reviews) all IO ROs of interfacing components. - As Installed Design Review is leading to the formal agreement of the reviewers on the approval of the “As Installed Design” Drawings. - Promotion to ‘Approved’ status of the CAD data delivered by the DA DO (at maturity ‘As Installed Design’) performed by the IO DECO in ITER DMU. |
| DA DO | - To transfer back to IO the data ownership |

# Contact Persons

The IO PARO; IO QA RO are named in the PA.

For IO RO, TRO related issues, the following persons are involved:

| Responsibilities | Name |
| --- | --- |
| IO TRO | Thibault Gassmann |
| IO RO | Bertrand Beaumont |

For IO DO related issues, the following persons are involved:

| Responsibilities | Name |
| --- | --- |
| IO DECO | Barry Beckett |
| IO DOCC | Eric Thomas |
| IO DO Monitor |  |
| IO E&S Catalogue Coordinator | Frederic Autogue |
| IO DO Plant Design Section Leader | Dalle Carbonare Giuliano |
| IO DO Configuration Control Section Leader | Heinz Heidl |
| IO DO Head | Eric Martin |

The DA TRO; DA PARO are named in the PA.

For DA DO related issues, the following persons are involved:

| Responsibilities | Name |
| --- | --- |
| DA DOCC | Shrishail Padasalagi |
| DA DECO | TBD |

DA DECOs:

At the start of the phase 1, the DA will nominate a Design coordinator amongst the DA visiting designers. His role, in addition of normal CAD design actions, will be to supervise and monitor the design activities performed by the other designers, and to perform operations related to data lifecycle management (promotion to draft, interfaces list maintenance,…). Clarification of this role will be discussed during kick-off meeting.

# CAD Manual sections applicable for this task

The requirements and recommended methodologies given in the ITER CAD Manual are to be followed for this design task. Following hyperlinks correspond to lists of the ITER CAD manual sections & how to documentation:

- Hyperlinks to CAD Manual - Training Docs - How To - Catalogs - What Is - avi  (24N3GT)

- See System Design Training Plan (3DCUVP)

The ITER CAD manual covers a wide range of design activity types. After submission of the DA detailed workplan to IO, the IO DO will define which detailed methodologies from the CAD Manual should be applied, in particular when the CAD Manual includes several options.

# Design data records

DO data and changes are followed up through several documents.

    - Bill of Material (BOM)

    - Data Exchange Transfer (DET, only for data transfer ownership)

    - Design log book

    - Programme reports (reviews, approvals…)

Certain of those documents will be recorded through the Design Collaboration Implementation Monitoring for a more efficient follow-up of the DO activities related to the Ion Cyclotron High Voltage Power Supply System PA. Only the links to the specific folders will be added to the current DCIF.

# Glossary

The report of the ITER abbreviations database is available on IDM and in this linked document: ITER_D_2MU6W5 - ITER Abbreviations

| Abbreviation | Real Name/Definition |
| --- | --- |
| BOM | Bill Of Material |
| CAD | Computer Aided Design |
| CD | Conceptual Design |
| CDO | Contractor Design Office |
| CITRIX | Solution enabling a distant connection to the ITER DMU – not requiring any specific resource or machine |
| CMM | Configuration Management Models |
| DA | Domestic Agency |
| DB | Data Base |
| DCIF | Design Collaboration Implementation Form |
| DECO | DEsign COordinator |
| DER | Data Exchange Request |
| DET | Data Exchange Transfer |
| DI | Design Integration |
| DMU | Digital Mock-Up |
| DO | Design Office |
| DOCC | Design Office Collaboration Coordinator |
| ENOVIA | PDM used in ITER. Database where all ITER CAD data is stored and made accessible to ITER contributors. |
| E&S | Equipment and System |
| IC HVPS | Ion Cyclotron High Voltage Power Supply |
| IDM | ITER Document Management |
| IO | ITER Organization |
| ICP | ITER Collaborative Platform |
| IT | Information Technology |
| ITER | International Thermonuclear Experimental Reactor |
| PA | Procurement Arrangement |
| PARO | Procurement Arrangement Responsible Officer |
| QARO | Quality Assurance Responsible Officer |
| TRO | Technical Responsible Officer |
| PD | Preliminary Design |
| PDM | Product Data Management |
| PFD | Process Flow Diagram |
| P&ID | Piping & Instrumentation Diagram |
| P&O | People & Organisation |
| RO | Responsible Officer |
| QA | Quality Assurance |
| TRO | Technical Responsible Officer |